{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":5,"n_cols":8,"rows_kept":5,"merged":[[0,0,0,7],[3,1,3,2],[4,0,4,7]],"flags":["formulas_cached_only"]}
["东科城27号楼农信数智项目防排烟窗报价表"]
["序号","项目名称","项目参数及特征描述","单位","数量","全费用综合单价（元）","全费用合价（元）","备注"]
[1,"防排烟窗","1、玻璃规格及颜色：同原有幕墙玻璃且需满足相关规范验收要求\n2、型材规格及颜色：同原有幕墙型材且需满足相关规范验收要求\n3、防排烟窗尺寸：1000mm*2200mm\n4、该综合单价中含原有幕墙拆除、洞口部位加固、手动摇杆、五金、措施费（脚手架、吊车、吊篮根据自身情况考虑，具体使用那种方式自行考虑，垂直运输费自行考虑，结算时综合单价不调整）等费用\n5、具体做法需满足相关规范验收要求","m2",{"v":44,"d":"44.00"}]
[2,"合计"]
["备注：1、全费用综合单价和合价主要包括（但不限于）： 货物价格（含配套辅材，备品备件、专用工具、技术资料等）、包装费、运输费、保险费、上下货力资费、安装布置费、现场措施费、调试费、验收检测费、质保期内的售后服务费、保洁费、管理费、措施费、规费、利润、税金、市场风险及国家政策性调整风险、不可预见费及验收合格交付使用前发生的所有费用，凡漏项或少计均视为优惠，招标人不另行增加费用。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}