{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["未来科技城北区2#A座6-9层基础装修工程"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"未来科技城北区2#A座6-9层基础装修工程","index":0,"n_rows":26,"n_cols":5,"rows_kept":26,"merged":[[0,0,1,4],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,3,3,3],[2,4,3,4],[25,0,25,4]],"flags":["formulas_cached_only"]}
["主要设备材料招标人推荐品牌一览表"]
[]
["序号","材料名称","技术标准\n(单位：mm)","推荐品牌","备注"]
[]
["1","石材胶","优等品","常熟大力宝、上海大力士、武汉大力士"]
["2","五金配件","优等品","坚朗、雅洁、顶固、大连汇荣（颜色同铝型材）","SUS304型优等品"]
["3","玻璃","优等品","昆山台玻、南玻、耀皮"]
["4","墙地砖","优等品","罗马（苏州产）、汇亚（广东产）、马可波罗（广东产）、萨米特"]
["5","木板材","优等品","兔宝宝、千年舟、莫干山","EO级"]
["6","涂料","优等品","美涂士、立邦、华润、紫金花、三棵树、多乐士、嘉宝莉"]
["7","电线电缆","优等品","江南、远东、上上、宝胜、东强"]
["8","开关、插座","优等品","ABB、施耐德（Schneider）、西门子(SIEMENS)"]
["9","配电箱、控制箱\n内主要电气元件","优等品","ABB、施耐德（Schneider）、西门子(SIEMENS)"]
["10","配电箱、控制箱\n内主要电气元件","优等品","多功能电表：上海安科瑞、丹东华通、江苏斯菲尔\n（多功能电表具有监测和计量三相电压、三相电流、有功功率、无功功率、功率因数、有功电能、无功电能、总电能、最大需量等功能：并具有RS485通讯接口，通讯协议支持标准MODBUS-RTU及DL/T645-2007通讯协议；电表精确度等级0.2,配电箱/柜中电表通讯总线图并注明明端子号）"]
["11","配电箱、控制箱\n内主要电气元件","优等品","KBO控制开关：浙江中凯、江苏新晨、天津北方恒业"]
["12","配电箱、控制箱\n内主要电气元件","优等品","浪涌保护器：北京图灵、南通信达电器、南京嘉顿威尔（确保气象部门验收通过）"]
["13","室内灯具","优等品","欧普、三雄极光、雷士","中标人在中标后须提供3种及以上样品供招标人"]
["14","管理电脑","优等品","联想、戴尔、惠普"]
["15","双绞线缆","优等品","一舟、爱谱华顿、天诚"]
["16","网络机柜","优等品","图腾、大唐卫士、金盾keydak"]
["17","综合布线","优等品","天诚、清华同方、安普"]
["18","网络设备","优等品","信锐、华三、博达、锐捷、华为"]
["19","视频监控设备","优等品","大华、海康、宇视"]
["20","多联空调室内机、联动报警、应急照明","优等品","与现有系统兼容"]
["注："]
["1、对《主要设备材料招标人推荐品牌一览表》中的所有设备材料，各投标人投标时无需选择某一具体品牌（投标时也无需提供《主要设备材料招标人推荐品牌一览表》），但供货时必须在招标人推荐品牌中选择其中一种进行供货（无论招标人推荐品牌的产品是否存在价差，中标人均须无条件按照招标人推荐的品牌进行供货，结算时产品价格不予调整）。\n2、若投标人认为其他品牌的产品在品牌知名度、信誉度、质量、性能、技术指标等方面优于或者相当于招标人推荐品牌的，应在提问截止时间前以书面方式向招标人提出，并提供相应的证明材料。招标人认为合理的，将以答疑方式告知所有投标人予以增加。一旦中标，除发现涉嫌品牌报备、品牌垄断，价格明显高于周边地区市场价，或本地无法供货，提出相关证据经招标人确认外，中标人不得以任何理由更换推荐品牌。"]