{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":16,"n_cols":7,"rows_kept":16,"merged":[[0,0,1,6]],"flags":["formulas_cached_only"]}
["园区消防器材供给服务工程"]
[]
["序号","内容","单位","数量","单价","合计","推荐品牌"]
[1,"手提式干粉灭火器3KG/ABCE","只",500,null,{"v":0,"d":"0.00"},"国泰，淮海，金枪鱼，欧伦泰"]
[2,"手提式干粉灭火器4KG/ABCE","只",4000,null,{"v":0,"d":"0.00"},"国泰，淮海，金枪鱼，欧伦泰"]
[3,"手提式干粉灭火器5KG/ABCE","只",200,null,{"v":0,"d":"0.00"},"国泰，淮海，金枪鱼，欧伦泰"]
[4,"手提式二氧化碳灭火器3KG/BE","只",100,null,{"v":0,"d":"0.00"},"国泰，淮海，金枪鱼，欧伦泰"]
[5,"手提式二氧化碳灭火器5KG/BE","只",100,null,{"v":0,"d":"0.00"},"国泰，淮海，金枪鱼，欧伦泰"]
[6,"消防水带（涤纶长丝-聚氨酯）8-65","米",2000,null,{"v":0,"d":"0.00"},"祥雨，沱雨，淮海，水龙江山"]
[7,"消防水带（涤纶长丝-聚氨酯）10-65","米",2000,null,{"v":0,"d":"0.00"},"祥雨，沱雨，淮海，水龙江山"]
[8,"水带接口KD65","只",400,null,{"v":0,"d":"0.00"},"祥雨，沱雨，淮海，水龙江山"]
[9,"水枪头（直流内扣）65型","只",100,null,{"v":0,"d":"0.00"},"祥雨，沱雨，淮海，水龙江山"]
[null,"合  计",{"$nulls":3},{"v":0,"d":"0.00"}]
[]
[null,"投标单位盖章："]
[null,"时间："]